Application ID (as it appears in the application form / change notification form)

- [X] in this document indicates a document to be named including page number – submitted for evidence. Grey text (for guidance) may be replaced/deleted.

- For multiple packaging variants multiple checklists may be applied to increase the transparency of the data. Redundant data can be omitted in this case focussing to the differences.

- In case of a Change Notification, please only fill in the applicable sections. Please provide the latest full validation review / originating sterilization review project number (usually starting with 07xxxxx)

- For most current version of Client Checklist please check Biological safety checklists | TÜV SÜD (tuvsud.com)

# Short product description relevant for sterile packaging validation

Note: Please replace italic text with respective information. Please add additional lines if required.

Short description incl. picture of the device - in case of changes, as far as relevant

Description of the device as far as relevant for packaging (pictures for clearer understanding): To be added Product schematic and / or photo of product, size, please provide a scheme or picture of packed product in its final sterile barrier (including sizes), packaging material, intended use / intended purpose according to IFU instructions for use), packaging description, picture Variants under assessment: To be added Product variants (e.g. same product in different SBS (Sterile Barrier System), multiple products in same SBS) Description of the SBS specifications

Has this product previously been assessed by TÜV SÜD Product Service?

☐ Yes Please provide 10-digit order no. usually starting with 071xxxxxxx (or equivalent traceable information) related to the packaging in scope of the actual product assessment ☐ No

| Manufacturing facility and certification status of the applicable packaging sites / facilities |  |  |
| --- | --- | --- |
| Manufacturing site to be named (device) including sterile packaging | Please provide the applicable QMS certificate ISO 13485 of the used packaging site The respective certificate is documented in [X] |  |
| Manufacturing site to be named (device) including sterile packaging | Please provide the applicable QMS certificate ISO 13485 of the used packaging site The respective certificate is documented in [X] |  |
| … | … |  |

| External laboratories if used for packaging validation and certification status of the laboratory |  |
| --- | --- |
| Name of the laboratory | Please name the test done by the laboratory (e.g. testing of seal strength, integrity, transport simulation, ageing, microbial barrier properties, visual control …). Please provide the applicable QMS accreditation certificate (e.g. ISO 17025 or GLP) including annex indicating the accreditation scope. The respective certificate is documented in [X] |
| Name of the laboratory | Please name the test done by the laboratory (e.g. testing of seal strength, integrity, transport simulation, ageing, microbial barrier properties, visual control …). Please provide the applicable QMS accreditation certificate (e.g. ISO 17025 or GLP) including annex indicating the accreditation scope. The respective certificate is documented in [X] |
| … | … |

# Production related Information

## General Packaging Design and Validation Approach

| Is a risk management process applicable to packaging systems and packaging processes established, implemented, documented and maintained? | ☐ Yes, the respective data is documented in [X] ☐ No, please provide a rationale how packaging related risks are kept under control |
| --- | --- |
| Was a preformed SBS used? | ☐ Yes, please specify on how these pre-formed SBS assure their specification on seal strength, seal width and integrity? Please specify – what type of test method (standard) or reference was used. Preformed SBS may be tray/blister, pouches or any partially assembled packaging that will be filled and finally sealed/closed. The respective data is documented in [X] ☐ No |
| Please indicate what side of the SBS is sealed in the sealing process under review. | Please describe on what side the SBS is sealed during the sealing process, e.g. bottom seam not intended to be opened. The respective data is documented in [X] |
| What minimum seal strength did you specify? | Please specify the minimum seal strength necessary to open the SBS The respective data is documented in [X] |
| By what means is the aseptic presentation of the product ensured? | Please specify how it is assured that the above mentioned seal strength is adequate – what type of test method (standard) or reference was used. Please also specify what usability study data or what studies were performed to show aseptic presentation. The respective data is documented in [X] |
| By what means is the SBS indicated? | Please specify – by what means the SBS can be distinguished from the protective packaging. The respective data is documented in [X] |
| Does the instruction for use (IFU) include direction to visually inspect the SBS for breaches of packaging integrity prior to aseptic presentation? | ☐ Yes ☐ No, please provide a justification. The respective data is documented in [X] |
| How is biocompatibility of the packaging materials ensured? | Please specify – what type of test method (standard) or reference was used The respective data is documented in [X] |
| By what data are the microbial barrier properties of the SBS materials (top and bottom web) assured? | Please specify – what type of test methods (standard) or reference was used The respective data is documented in [X] |
| What is the rationale for the applied test methods and how were validated test methods ensured? | Please specify the applicable test methods (standard) and intentions what is to be shown by the chosen test methods. How is it assured that these applied test methods are in validated state? |
| What is the rationale for the number of samples taken for each of the tests? | Please provide the statistical approach by which it is assured that the whole process (including OQ, PQ) is covered by the samples taken – considering to keep the Sterility Assurance Level of 10-6 The respective data is documented in [X] |
| In case for the testing strategy a worst case representative packaging was used please indicate this for the topics: | ☐ yes, for sealing ☐ yes, for forming ☐ yes, for labeling ☐ yes, for packaging performance testing (transport validation) ☐ yes, for packaging stability testing (ageing/shelf life testing) A rationale for establishing similarities and identifying the worst-case configuration is documented in [x] ☐ no, a rationale is documented in [x] |

## Material Specification

| Packaging type | Amount of units in the next lower packaging type | Used packaging material | Supplier | Material number | Supplier certificate |
| --- | --- | --- | --- | --- | --- |
| Sterile barrier system (SBS) ☐ Pouch ☐ Blister ☐ Other: Please specify Documented in [X] | - | Top web: Please specify the material Bottom web: Please specify the material Dimension: Please specify length X width (X height) in e.g. mm | ☐ Preformed barrier supplier: Please name the supplier ☐ Material Supplier: Please name the supplier | Please specify the internal material number What is the specification of the seal width and seal strength: Please specify Data is documented in [X] | The certificate(s) of the supplier(s) of the packaging material is documented in [X] |
| Protective packaging 1 ☐ Pouch ☐ Blister ☐ Other: Please specify Documented in [X] | Please specify how many sterile barrier packed products are in the protective packaging | Top web: Please specify the material Bottom web: Please specify the material Dimension: Please specify length X width (X height) in e.g. mm | ☐ Preformed barrier supplier: Please name the supplier ☐ Material Supplier: Please name the supplier | Please specify the internal material number Data is documented in [X] | The certificate(s) of the supplier(s) of the packaging material is documented in [X] |
| Protective packaging 2 Shelf box Documented in [X] | Please specify how many secondary barrier packed products are in the shelf box | Please specify the material Dimension: Please specify length X width (X height) in e.g. mm | Please name the supplier | Please specify the internal material number |  |
| Protective packaging 3 Transportation Package Documented in [X] | Please specify how many shelf boxes packed products are in the transport package | Please specify the material Dimension: Please specify length X width (X height) in e.g. mm | Please name the supplier | Please specify the internal material number |  |
| … |  | … | …. | …. |  |

## Equipment Specification

Note: Please replace italic text with respective information. Please add additional lines if required.

| FORMING equipment for SBS | Equipment no./ID and tool ID | Process parameters (routine settings) Setpoint and tolerances | Process boundaries tested at OQ | Site | Equipment calibrated (statement sufficient) |
| --- | --- | --- | --- | --- | --- |
| Please indicate the type of packaging machine (Manufacturer, including the technology used – positive forming, negative forming, …) including number of cavities for forming Documented in [X] | Please specify | Please name all relevant parameters Forming Temperature: Please specify Forming Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | Please name all relevant parameters Forming Temperature: Please specify Forming Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | ☐ Inhouse ☐ External supplier: Please name Equipment was validated at place of production: ☐ Yes ☐ No, please provide a rational | ☐ Yes ☐ No |
|  | Please specify | Please name all relevant parameters Forming Temperature: Please specify Forming Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | Please name all relevant parameters Forming Temperature: Please specify Forming Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | ☐ Inhouse ☐ External supplier: Please name Equipment was validated at place of production: ☐ Yes ☐ No, please provide a rational | ☐ Yes ☐ No |
| … | …. | … | … |  |  |
| SEALING equipment for SBS | Equipment no./ID and tool ID | Process parameters (routine settings) Setpoint and tolerances | Process boundaries tested at OQ | Site | Equipment calibrated (statement sufficient) |
| Please indicate the type of packaging machine (Manufacturer, model including the technology used – impulse heat sealer, ultrasound…) including number of cavities for sealing Documented in [X] | Please specify | Please name all relevant parameters Sealing Temperature: Please specify Sealing Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | Please name all relevant parameters Sealing Temperature: Please specify Sealing Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | ☐ Inhouse ☐ External supplier: Please name Equipment was validated at place of production: ☐ Yes ☐ No, please provide a rational | ☐ Yes ☐ No |
|  | Please specify | Please name all relevant parameters Sealing Temperature: Please specify Sealing Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | Please name all relevant parameters Sealing Temperature: Please specify Sealing Time: Please specify Cooling Time: Please specify Pressure: Please specify Other: Documented in [X] | ☐ Inhouse ☐ External supplier: Please name Equipment was validated at place of production: ☐ Yes ☐ No, please provide a rational | ☐ Yes ☐ No |
| … | …. | … | … |  |  |

## Packaging Process Validation

Note: Please replace italic text with respective information. Please add additional lines if required.

| Description of the packaging process | Please describe the sequence how the packaging is processed till the SBS is complete. E.g. what machines seals what packaging to establish the SBS – how is the protective packaging (if applicable) formed and sealed. The respective data is documented in [X] |
| --- | --- |
| Operational Qualification (OQ) |  |
| Were the upper and lower process parameters challenged? | ☐ Yes, upper and lower process parameters were challenged for: ☐ forming ☐ sealing. ☐ other closure modes ☐ No, please provide a rationale how is ensured that the equipment produces compliant outputs at the limits of the operating window. The respective data is documented in [X] |
| Does the SBS meet the specifications of the required quality properties? | ☐ Yes, the SBS fulfill the specified quality properties after: ☐ forming/assembly ☐ sealing ☐ other closure modes ☐ No, please provide a rationale how the normative quality properties of SBS are ensured at the limits of the operating window. The respective data is documented in [X] |
| How many samples were tested? | Please state how many samples were tested for which quality property, each at upper and lower process parameters The respective data is documented in [X] |
| Performance Qualification (PQ) |  |
| Was the actual product under review used in PQ | ☐ Yes, the product was used ☐ A simulated product was used, please specify and provide a rational why the product is representative ☐ No, please justify why no product was used at PQ – how is it assured that there is no interaction between product and SBS influencing the result. The respective data is documented in [X] |
| Were 3 production runs (nominal parameters) applied? | ☐ Yes, documented in [X] ☐ No, please provide a rationale how variability within a run and reproducibility between different runs are assessed. A statistical sound rationale for sample size is documented in [X] |
| Does the process produce SBS which consistently meet predetermined requirements? | ☐ Yes, the SBS meet predetermined requirements after: ☐ forming/assembly ☐ sealing. ☐ other closure modes ☐ No, please provide a rationale how is ensured that the process will constantly produce SBS which fulfil all predetermined requirements. The respective data is documented in [X] |
| How many samples were tested? | Please state how many samples were tested per run for which quality property The respective data is documented in [X] |

## Packaging System Performance Testing

Note: Please replace italic text with respective information.

| How are routine transport routes covered by the method of the performed transport simulation? | Please specify the applied climatic conditioning and distribution cycle at transport simulation and it`s relation to the real transport pathway of the product. The respective data is documented in [X] |
| --- | --- |
| How is it justified that worst-case packaging system was tested in transport validation? | Please rationalize the worst-case constellation under consideration of SBS aspects, protective packaging aspects and product aspects, Please specify the applied worst-case conditions for sealing and forming as well as sterilization. The respective data is documented in [X] |
| Was the integrity of the whole SBS tested after transport simulation? | ☐ Yes ☐ No, please provide a rationale how SBS integrity after transport simulation is ensured. The respective data is documented in [X] |
| How was the integrity and readability of the labelling system after hazards of handling and transportation demonstrated? | Please specify – what type of test method (standard) or reference was used The respective data and test results is documented in [X] |

## Packaging Stability Testing

Note: Please replace italic text. Please add additional lines if required.

| How are the claimed maximum storage conditions covered by the calculation of the accelerated aging time? | Please specify the ageing conditions and respective ageing calculation in case of accelerated ageing The respective data is documented in [X] |
| --- | --- |
| Was the integrity of the whole SBS tested after ageing? | ☐ Yes ☐ No, please provide a rationale how SBS integrity after shelf life is ensured. The respective data is documented in [X] |
| How was the integrity and readability of the labelling system until point of use demonstrated? | Please specify – what type of test method (standard) or reference was used The respective data is documented in [X] |

| Release by client: | xxxx-xx-xx |  |  |
| --- | --- | --- | --- |
|  | Date | Signature | Name |
|  |  |  | Name of Legal Manufacturer |

Revision 0: Initial creation

Revision 1: Re-structure of sections, addition of risk-management and IFU directions in section 2.1, addition of OQ and update of PQ in section 2.4, addition of labelling integrity in section 2.5, brand refresh.